INSTALLATION INSTRUCTIONS:  
ULTRAFLEX DC, Fixed Resilient System

AacerFlooring.com

Sales@AacerFlooring.com

877-582-1181

Job Site Conditions

Before start of project, the steps outlined below must be taken to protect you, the flooring contractor, and to ensure a quality project.

- The wood flooring and all of its components shall not be delivered or installed until all overhead and wet trades are complete.  This includes but is not limited to electrical, masonry, painting, plaster, tile, marble, and terrazzo.

- The building shall be fully enclosed and weather tight.  Permanent windows and doors shall be installed, and H.V.A.C. system should be complete, operational, and conditioning air to be within specifications (55/75 degrees with humidity between 35/50 percent) or conditions that will exist following installation and during occupancy.

- Flooring contractor shall verify slab tolerance (+/-1/8” in 10’ radius) and report to owner, general contractor, or architect in writing, any and all discrepancies. All high spots will need to be ground and low spots filled with approved leveling compound by the concrete contractor to meet the approval of flooring contractor.

- Flooring contractor shall document site working condition both prior to and during installation. This document shall become part of any warranty, and may affect fulfillment of said warranty.  To include but is not limited to ambient temperature, humidity, and moisture content of strip flooring.  These readings should be taken a minimum of twice a day at several locations each time and more often when site conditions warrant.

- The concrete substrate shall be deemed fully cured by industry standards.  Field test moisture content of concrete using Relative Humidity (RH) testing.  Relative humidity levels for non-glue down systems need to be at 85% or lower and the relative humidity for glue down systems should be at 75% or lower.  A RH reading above 85% means that not only can the floor not be installed but the materials i.e. plywood, sleepers, strip flooring cannot be brought to the job site.  One of the three following tests can be used as pre-tests only and should not be used to determine if the concrete slab has reached acceptable levels for installation.  Polyethylene Film Test, Phenolphthalein test or the Calcium Chloride test. These tests should be taken in several locations and an average taken to determine accuracy, in addition to clearly identifying any and all problem areas. A moisture content reading higher than 5% means the concrete is not ready for installation.

- Flooring must be stored on site in a dry, well-ventilated area not in direct contact with concrete while acclimating to site conditions.  Moisture content of wood shall be consistent   with the ambient conditions of the building as they will be maintained when occupied.

- Concrete slab depressions shall be consistent with total height of sub floor and strip wood floor combined. Any and all discrepancies will be addressed prior to material being delivered.

NOTE: THIS MANUAL PROVIDES A FUNDAMENTAL REFERENCE GUIDE FOR THE INSTALLATION OF THE AACER ULTRAFLEX DC SYSTEM. WHILE AACER SPORTS FLOORING BELIEVES THAT FOLLOWING THESE INSTRUCTIONS WILL RESULT IN THE BEST INSTALLATION, IT MAKES NO WARRANTY OR REPRESENTATION OF ANY NATURE, TYPE, OR DESCRIPTION EXPRESSED, IMPUED, OR PROVIDED BY LAW RESPECTING THE INSTALLATION PROCESS OR THE RESULTS ACHIEVED. ALTHOUGH VALUABLE JNFORMATION IS PROVIDED IN THIS GUIDE, IT IS NOT INTENDED AS SUBSTITUTE FOR ON SITE TRAINING BY QUALIFIED AND EXPERIENCED PERSONNEL. ALL SPECIFICATIONS MUST BE FOLLOWED.

UltraFlex DC™ Installation Tools Required

- 10 or 12’ metal straight edge (for checking flatness)

- Marking paint (to mark areas to fill low areas)

- Dolly (for moving material)

- Shim material for floor

- Chalk line

- Visqueen

- Duct tape or adhesive

- Concrete hammer drill

- 1/4” masonry bits

- 3 or 5# hammer

- Chop saw

- Table saw

- Jigsaw

- Air compressor & hoses

- Extension cords

- Pneumatic nailer & nails  2” for nailing strip floor

- Pneumatic or power actuated gun to set anchoring pins. Pin length: 2-1/2” or 2-1/4” (min) with 7/16” pads.

- Pneumatic stapler and staples to secure the end tabs.  Staple length: 1-1/4”.  Screws of the same length can be used in place of the staples.

- Hand drive coated finish nails 6d or 8d (for nailing strip floor)

- General carpentry tools

- Moisture meter (for checking sub floor and strip flooring)

- Expansion spacers

- Wide, fine bristle broom

- Sanding and finishing equipment

- Humidity meter

UltraFlex DC™ Installation Instructions

- Two to three weeks prior to materials being delivered to the project, the foreman should visit the site and verify conditions. This would include making a 5’ grid and checking slab tolerances using a 10' straight edge, moving it perpendicular to the plotted grid in both directions to identify all areas requiring correction. (Note: The use of a transit or laser alone does not include measurements between the grid points.)  If conditions are not satisfactory the general contractor should be informed to make appropriate corrections. Concrete moisture test should be taken at several spots in work area to determine average moisture content. Verify jobsite is on schedule and all requirements are going to be or have been met, this would include but is not limited to the building being fully enclosed, H.V.A.C. system working and conditioning air to manufacturers specifications, overhead trades complete, wet trades complete, etc. Start project documentation to include moisture content of slab, humidity levels and any problems with job site.

- When materials are delivered to site, make sure there is an adequate means to handle and place materials.  The storage area should be in the work site. Storing materials in the four corners will save extra handling later.  Allow enough time for materials to be acclimated to site conditions, if required.

- Your installation begins by first having proper job documentation (temperature, humidity, moisture content, progress and problems) Job documentation needs to be done twice every day.  This process must be done throughout the duration of the project.

- Sweep entire project area using a sweeping compound to control dust. Then drag a metal straight edge over entire surface to determine all high and low spots.  Mark and fill all low spots with appropriate filler and grind all high spots.

- Install a 6mil, clear plastic vapor barrier over entire floor.  Overlap all joints by 6” and seal with 2” duct tape or adhesive.

- Snap a chalk line 2” off a short wall.

- Start installing the manufactured subfloor panels along the chalk line near the wall.  There are several ways you can start your starter panels.  You can start with 5’ and 3’ panels or do 3’ and 8’ panels.  Also, the original way is to take a small number of the panels and cut them into 2’, 3’, 5’ and 6’ sections.  Your main goal is to maintain a 2’ minimum break between the ends of the panels.  Start the first row with an 8’ panel and continue with 8’ panels down the row.  Allow a ¼” gap where ends abut.  Use two (2) 1-1/4” screws or staples to secure panel end tabs allowing a ¼” void for expansion.  Each new row will be separated by 8” when using 1st Grade, 2nd & Better and 3rd & Better flooring.  Cut spacer blocks to maintain the 8” spacing.  If using 3rd Grade flooring, each new row will be separated by 6”.  Cut spacer blocks to maintain the 6” spacing.  Start 2nd row using a 3’ panel and continue with 8’ panels.  The 3rd row starts with a 6’ panel, the 4th row with a 2’

UltraFlex DC™ Installation Instructions (continued)

panel, and the 5th row with a 5’ panel.  The 6th row starts the progression over again starting with an 8’ panel.  All pre-manufactured subfloor panels will stay 2” off any exterior wall or permanent obstruction. Add additional blocking for transitions, bleachers, and heavy load areas and around permanent obstructions to guaranty floor integrity.  Fasten panels to concrete with 2-1/4” or 2-1/2” steel pins or modified drive pins; 4 per panel, in the predrilled locations on the cross members.  Optional “Z” anchors can be used, and are secured with a minimum 1” pin.  Repeat until entire work area is complete.

- Install maple strip flooring running the long dimension of the room, Aacer Flooring recommends starting near the center of the room. Snap a chalk line near the center of the room running the long dimension of the work area. Adjusting of line may be required to have flooring run parallel with court and game lines.  Install straight stop block along chalk line to begin installation.  When nailing flooring, work in a left to right direction nailing at each nailer strip. Care should be taken to prevent damage to surface edge or face of maple.  Flooring strip end joints shall be tight and free of voids. You may remove stop block after 10 rows to allow simultaneous installation on both sides of the floor. The starter row will require a slip tongue or spline.  Near the perimeter the use of a nail gun will be impossible, so hand nailing will be required.  Face nail with 6d or 8d coated nails.  Expansion rows may be required intermittently throughout the floor.  Requirements will be determined by site and geographical location.  Provide a minimum 2” void at all walls and permanent obstructions.

- Sanding:  Inspect entire floor for defects and correct as required. Fill all small voids with wood filler then machine sand entire floor using course, medium and fine grit sandpaper to a smooth uniform surface free of drum drops and edger marks. Remove all sanding dust and lint from entire surface by vacuum and tack cloth.

- Examine entire surface for imperfections and repair as required to make sure floor is ready for finish.  Apply seal coats per manufacturer’s instructions.  Apply game lines and logos as required.  Floor shall be buffed, cleaned and tacked between coats.  Paint shall be compatible with finish.  Apply finish per manufacturer’s directions.  General contractor or owner shall take steps to secure gym until finish is cured and flooring contractor allows foot traffic.

- Adhere vent cove base to walls with adhesive or mechanical fasteners.  Use pre-molded outside corners as needed, miter inside corners.  NOTE: when using adhesive take care not to block air cavities.

- Thresholds and transitions shall be designed and installed to adequately allow for expansion and contraction of the wood floor. The flooring contractor shall install thresholds and transitions.  At no time should the threshold be fastened to the wood floor.

Revised 04/23/15